## Fire Safety Report
Mansfield University Fire Safety Report
| 2013 | 2014 | 2015
Fires Categorized by Type
University Operated Housing (All university operated residence halls are protected by | 0 | 0 | 1
automatic sprinkler systems)
All Other Campus Buildings | 0 | 0 | 0
Non-Structural (outside vegetation, mulch, vehicles, etc.) | 2 | 1 | 4
Fires Categorized by Severity
Large Loss (Fatality and /or property damage greater than or equal to 5 million dollars) | 0 | 0 | 0
Minor - (no fatalities, moderate property damage and/or human injury) | 0 | 0 | 0
Incidental - (No fatalities, no injuries, minimal or no property damage) | 2 | 1 | 1
Fires Categorized by Cause
Unintentional | 2 | 1 | 1
Intentional | 0 | 0 | 0
Fire Alarms
Intentional (Malicious pull of fire alarm/intentional activation; vandalism) | 1 | 3 | 4
Accidental (Activation by cooking, airborne dust, steam, tobacco smoke, hairspray, etc.) | 9 | 29 | 35
Other (Mechanical problem, inadvertent activation by maintenance activities, contractors, etc.) | 8 | 20 | 14
Other emergency condition (Carbon Monoxide, other hazard requiring evacuation) | 2 | 1 | 0
Fire Drills
Mansfield University conducts a minimum of one (1) fire drill per full month occupancy
residence hall. A minimum of two (2) fire drills per year are conducted in all other occupied buildings.
Residence Halls | 24 | 24 | 24
All other Buildings | 32 | 32 | 32

## 2015 Alarms
2015 Fire Alarms
Date | Time | Location | Alarm Type | Incident Description
2015-01-26 | 1:15 | 50 Morris Drive - Sycamore Rm. 227 | Smoke Detector | Activation by hair products & styling
2015-01-26 | 21:15 | 50 Morris Drive - Sycamore Rm. 415 | Smoke Detector | Burnt popcorn
2015-01-31 | 15:31 | 66 Morris Drive - Hickory Rm. 343 | Smoke Detector | Hair Care Products
2015-02-06 | 0:25 | 125 Clinton Street - Spruce Rm. 204 | Smoke Detector | Nothing Found
2015-02-06 | 12:11 | 40 Clinton Street - Maple B - Rm. 211 | Smoke Detector | Steam/Water Leak
2015-02-06 | 22:03 | 125 Clinton Street - Spruce 2nd Floor | Pull Station | Intentional/Malicious activation
2015-02-09 | 19:29 | 64 Morris Drive - Oak Rm. 350 | Smoke Detector | Burnt Food
2015-02-19 | 13:33 | 125 Clinton Street - Spruce - 4th Floor | Pull Station | Accidental activation by custodial staff
2015-03-04 | 3:19 | 125 Clinton Street - Spruce Rm. 148 | Smoke Detector | Burnt Food in Microwave
2015-03-08 | 0:47 | 64 Morris Drive - Oak Rm. 129 | Smoke Detector | Burnt Food - GA Apt.
2015-03-24 | 7:45 | 5 Swan Street - North Hall - Basement | Smoke Detector | Welding in the basement
2015-03-24 | 21:09 | 80 Clinton Street - Kelchner Fitness | Smoke Detector | Nothing Found
2015-03-25 | 0:51 | 125 Clinton Street - Spruce Rm. 362 | Smoke Detector | Burnt popcorn
2015-03-25 | 6:49 | 20 College Place - Laurel B Mech. Rm. | Smoke Detector | Steam Leak
2015-03-29 | 14:40 | 66 Morris Drive - Hickory Rm. 052 | Smoke Detector | Burnt Food
2015-03-30 | 16:06 | 125 Clinton Street - Rm. 357 | Smoke Detector | Hair Care Products
2015-04-06 | 23:30 | 66 Morris Drive - Hickory Rm 229 | Smoke Detector | Burnt food in Microwave
2015-04-07 | 19:10 | 66 Morris Drive - Hickory Rm 340 | Smoke Detector | Steam from Shower
2015-04-09 | 19:48 | 5 Swan Street - North Hall - near Rm. 303 | Smoke Detector | Unknown Cause - Nothing Found
2015-04-15 | 2:17 | 50 Morris Drive - Sycamore Rm. 205 | Smoke Detector | Activation by use of hair dryer
2015-04-27 | 22:31 | 64 Morris Drive - Oak 3rd Floor | Pull Station | Intentional/Malicious activation
2015-04-28 | 18:33 | 55 Wilson Street -Retan | Mulch Fire | Outside of Retan Center, Mulch Bed
2015-05-04 | 18:14 | 66 Morris Drive Hickory Rm. 041 | Cooking Fire | Fire inside Microwave - Extinguished with Fire Extinguisher
2015-05-07 | 22:48 | 64 Morris Drive - Oak rm. 104 | Smoke Detector | Water Leak
2015-05-10 | 10:50 | 80 Clinton Street - Kelchner Fitness | Smoke Detector | System malfunction
2015-05-19 | 0:38 | 125 Clinton Street - Spruce Rm. 255 | Smoke Detector | Burnt Food
2015-06-29 | 22:03 | 125 Clinton Street - Spruce Rm. 441 | Smoke Detector | Burnt Popcorn
2015-07-07 | 21:27 | 125 Clinton Street - Spruce Rm 179 | Smoke Detector | Vape Pen - Smoking
2015-08-07 | 11:46 | 18 Campus View - Butler Music | Pull Station | Child activated Pull Station
2015-08-17 | 12:47 | 66 Morris Drive - Hickory - Pump Room | Water Flow | Hydrant Flushing
2015-08-19 | 12:52 | 50 Morris Drive - Sycamore Rm. 318 | Smoke Detector | Burnt Food
2015-08-19 | 19:43 | 66 Morris Drive - Hickory Rm. 254 | Smoke Detector | Unknown Cause - Nothing Found
2015-08-19 | 20:38 | 66 Morris Drive - Hickory Rm. 203 | Smoke Detector | Vape Pen - Smoking
2015-08-21 | 16:02 | 125 Clinton Street - Spruce Rm 467 | Smoke Detector | Vape Pen - Smoking
2015-08-22 | 12:20 | 125 Clinton Street - Spruce Rm 266 | Smoke Detector | Vape Pen - Smoking
2015-08-22 | 22:19 | 50 Morris Drive - Sycamore Rm. 201 | Smoke Detector | Burnt popcorn
2015-09-03 | 0:59 | 125 Clinton Street - Spruce Rm. 149 | Smoke Detector | Vape Pen - Smoking
2015-09-03 | 11:12 | 50 Morris Drive - Sycamore Rm. 107 | Smoke Detector | Vape Pen - Smoking
2015-09-04 | 8:43 | 66 Morris Drive - Hickory Rm. 329 | Smoke Detector | Burnt Food in Microwave
2015-09-11 | 23:46 | 125 Clinton Street - Spruce Rm. 241 | Smoke Detector | Burnt popcorn
2015-09-14 | 6:56 | 66 Morris Drive - Hickory Rm. 150 | Smoke Detector | Vape Pen - Smoking
2015-09-15 | 15:57 | 76 Stadium Drive - Grant Science Rm 116 | Smoke Detector | Nothing Found
2015-09-16 | 4:12 | 50 Morris Drive - Sycamore Rm. 221 | Smoke Detector | Hair Care Products
2015-09-16 | 9:15 | 64 Morris Drive - Oak Rm. 441 | Smoke Detector | Burnt Foor
2015-09-16 | 16:18 | 64 Clinton Street - Oak | Mulch Fire | Outside of Oak, Mulch Fire
2015-09-22 | 21:35 | 125 Clinton Street - Spruce Near Rm. 447 | Pull Station | Intentional/Malicious activation
2015-09-24 | 16:10 | 125 Clinton Street - Spruce | Mulch Fire | Outside Spruce, near Einstein Bagel
2015-09-26 | 8:40 | 125 Clinton Street - Spruce | Mulch Fire | Outside Spruce, near Einstein Bagel
2015-10-02 | 22:55 | 125 Clinton Street - Spruce Rm. 411 | Smoke Detector | Vape Pen - Smoking
2015-10-05 | 1:26 | 66 Morris Drive - Hickory Rm. 412 | Smoke Detector | Hair Care Products
2015-10-06 | 9:01 | 50 Moris Drive - Sycamore Attic | Smoke Detector | Soldering - Mechanical Room
2015-10-26 | 20:20 | 66 Morris Drive - Hickory Rm. 355 | Smoke Detector | Burnt Food in Microwave
2015-11-03 | 18:36 | 64 Morris Drive - Oak Rm. 149 | Smoke Detector | Steam from Shower
2015-11-10 | 23:30 | 20 College Place - Laurel B Mech. Rm. | Smoke Detector | Steam - Mechanical issue
2015-11-12 | 19:53 | 125 Clinton Street - Spruce Rm. 466 | Smoke Detector | Hair Care Products
2015-11-13 | 3:41 | 40 Clinton Street - Maple B - Rm. 18 | Smoke Detector | Steam - Mechanical issue
2015-12-10 | 19:26 | 64 Morris Drive Oak Rm. 310 | Smoke Detector | Burnt Food in Microwave
2015-12-15 | 16:48 | 66 Morris Drive - Hickory | Smoke Detector | Testing of fire system
Intentional/Malicious activation
Accidental Activation of Fire alarm
Other Mechanical/Maintenance problem
Fire or other emergency
Outside fire or incident